A quick guide!

Standard microscope

#### Steps

- Click smallest objective lens into place

- Look through eyepiece and adjust mirror to show clear circle of light

- Place slide on stage

- Lower objective lens until just above slide (using focus knob)

- Look through eyepiece and slowly turn focus knob until object on slide is clear

- Move X10 objective lens into place and adjust fine focus to give clear image

Eyepiece lens

Focus knob

Objective lens

Stage

Mirror

- Motic microscope

##### Steps

- Switch on bottom light

- Place slide into clips on stage

- Move magnification to X100

- Lower objective lens until just above slide (using focus knob)

- Look through eyepiece and slowly turn focus knob until object on slide is clear