Technician Guide

What’s the end point?

Technician’s Guide

# *Assume 10 groups*

# Experiment

Low voltage AC power supply

Multimeter or ammeter able to measure AC current

3 leads & 2 crocodile clips

50 cm3 conductivity flask

25 cm3 plastic syringe

3 cm3 Pasteur pipette x 3

1 cm3 Pasteur pipette x 3

100 cm3 glass beaker x 3

100 cm3 0.1M hydrochloric acid (irritant)

50 cm3 0.1M sodium hydroxide (irritant)

50 cm3 0.1M sodium carbonate solution

50 cm3 0.1M ethanoic acid solution

bromothymol blue indicator solution

# Hydrochloric acid

Dilute according to the method on SSERC SafetyNet.

Take 1 litre of 0.1M acid and pour into 10 bottles.

# Sodium hydroxide

Dilute according to the method on SSERC SafetyNet.

Take 500 cm3 of 0.1M acid and pour into 10 bottles.

# Sodium carbonate solution

Dissollve 14.3g of sodium carbonate decahydrate in 500cm3 of distilled water.

Take 500cm3 of 0.1M sodium carbonate solution and pour into 10 bottles and label accordingly.

# Ethanoic acid solution

Dilute according to the method on SSERC SafetyNet.

If you are out of glacial ethanoic acid, a rough solution can be made by taking 100cm3 of vinegar and making up to 500cm3 (most spirit vinegar is 5% ethanoic acid)

Take 500cm3 of 0.1M ethanoic acid solution and pour into 10 bottles and label accordingly.

# Bromothymol blue indicator

Weigh 0.04g of indicator and add to 20 cm3 of ethanol in a 100 cm3 volumetric flask. Make up to the mark with distilled water.

Resources

All the chemicals can be found in school chemical stores.

If you already have conductivity flasks, which have been used in Standard Grade chemistry experiments and should therefore be accessible, then use those.  (It is important however to check that the quantities of acid used will immerse the electrodes).

If you do not have conductivity flasks, it is possible to make a simple one with little trouble.

- Take a standard 100cm3 plastic bottle.

Use a hacksaw or sharp knife (or a hot knife) to cut off the neck of the bottle as shown.

Use a heated screwdriver or similar to make a couple of holes in the shoulders of the bottle – as shown.

- Take a 2-holed bung that fits into the hole you now have in the top of your bottle.

Push 2 carbon rods through the bung, one through each hole, using petroleum jelly to help them go through.

- Your conductivity flask is now made and should look like this.

Once it is connected up, you use the holes you made in the shoulder of the flask to add the reagent.

Ammeters

You might need to talk nicely to your physics colleagues to borrow suitable meters.

We have hade good results using multimeters but a lot of multimeters, especially the less expensive ones, do not measure AC current, only DC.

Trouble shooting

You need to take care to make sure that you do not short-circuit the set up by allowing the crocodile clips on the electrodes of the flask to touch. If this happens though, most power packs have a simple reset button.

You will find that different flasks will give different readings. This is normal in the circumstances. The bungs are not identical and so some have the electrodes closer than others. Also, there are slight variationsin the holes you cut so some will dip further into the solution than others.

Given the design, adding more electrolyte will lead to a greater current as there will be a larger area in contact with the solution as the height increases in the flask.

The weak acid/ base combination is likely to produce variable result that will not be accurate enough to determine the end point from the plotted conductivity curve.