SSERC Risk Assessment (revised version November 2009)

(based on HSE ‘5 steps to risk assessment’)

2 Pitreavie Court, South Pitreavie Business Park, Dunfermline KY11 8UB

tel : 01383 626070 fax : 01383 842793

e-mail : sts@sserc.org.uk	web : www.sserc.org.uk

| ###### Activity assessed | UV beads |
| --- | --- |
| Date of assessment |  |
| Date of review (Step 5) |  |
| School |  |
| Department |  |

| Step 1 | Step 2 | Step 3 |  | Step 4 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| List Significant hazards here: | Who might be harmed and how? | What are you already doing? | What further action is needed? | Action by whom? | Action by when? | Done |
| UV light | Pupils, teachers, technical support staff. UV can damage skin (erythema, skin cancer) and eyes. | Warn users not to look directly at UV lamp. Lamp should be clamped, not hand held. Warn users not to irradiate skin unnecessarily. | Risk of harm small. See SSERC Optical Radiation – Safe Use guide, available from www.sserc.org.uk |  |  |  |

Description of activity: Customize as required

Additional comments: