## Slide 1
Enzyme-controlled reactions
-
The SSERC Team
Notes: SSERC – shared service of all 32 LAs
Established to support new practical science in schools.

## Slide 4
Effect of competitive and non–competitive inhibitors on ‑galactosidase
Paul Beaumont / Kate Andrews /
Margaret Louis

## Slide 5
b-galactosidase

## Slide 6
b-galactosidase

## Slide 7
Competitive inhibition

## Slide 8
Non-competitive inhibition

## Slide 9
Effect of [substrate]
Competitive inhibitor:
Increasing [substrate] displaces inhibitor from active site
Non-competitive inhibitor:
Increasing [substrate] has little or no effect on enzyme activity

## Slide 10
Method
Carry out reaction:
  Without inhibitor at low [S] (ONPG)
  In presence of inhibitor
    Galactose
    Iodine
[I] chosen to inhibit reaction and look at the effect of increasing [S]

## Slide 11
Method (steps 1-5)
Dilute β-galactosidase (enzyme)
Dilute stock ONPG (substrate)
Mix buffer and diluted ONPG in test tube, zero colorimeter
Add diluted enzyme to test tube
Read absorbance (blue diode) after two minutes

## Slide 12
Set to blue diode (toggle RGB button)
Cuvette from step 3 of protocol as blank
Calibrate (CAL) colorimeter
Measure & record absorbance after 2 min(step 5)
Direction of beam

## Slide 13
I = Galactose (steps 6-7)
Prepare test tubes
Each tube contains 2 cm3 galactose (I)
Tubes 1 – 6 contain increasing [S]
Mix buffer, galactose and substrate
Cuvette in colorimeter – zero
Return solution to test tube
Add 0.5 cm3 diluted enzyme, start timer & mix, read in colorimeter after 2 min

## Slide 14
Test tube No | Galactose (20%) in buffer (cm3) | ONPG stock (cm3) | Buffer (cm3) | Absorbance | [ONPG] in cuvette
1 | 2 | 0.1 | 0.9 |  | 8.0 x 10-4
2 | 2 | 0.25 | 0.75 |  | 2.0 x 10-3
3 | 2 | 0.5 | 0.5 |  | 4.0 x 10-3
4 | 2 | 0.75 | 0.25 |  | 6.0 x 10-3
5 | 2 | 1.0 | 0.0 |  | 8.0 x 10-3

## Slide 15
I = Iodine (steps 8-9)
Prepare test tubes
Each tube contains 1 cm3 iodine/KI (I)
Tubes 1 – 4 contain increasing [S]
Mix buffer, galactose and substrate
Cuvette in colorimeter – zero
Return solution to test tube
Add 0.5 cm3 diluted enzyme, start timer & mix, read in colorimeter after 2 min

## Slide 16
Test tube No | I2/KI (cm3) | ONPG stock (cm3) | Buffer (cm3) | Absorbance | [ONPG] in cuvette
1 | 1 | 0.25 | 1.75 |  | 2.3 x 10-3
2 | 1 | 0.5 | 1.50 |  | 4.7 x 10-3
3 | 1 | 0.75 | 1.25 |  | 7.0 x 10-3
4 | 1 | 1.0 | 1.0 |  | 9.3 x 10-3