#

**SSERC Risk Assessment** (revised version March 2018)

(based on HSE’s INDG 163 ‘Risk assessment - A brief guide to controlling risks in the workplace’)

2 Pitreavie Court, South Pitreavie Business Park, Dunfermline KY11 8UU

tel : 01383 626070 e-mail : enquiries@sserc.org.uk web : [www.sserc.org.uk](http://www.sserc.org.uk)

#

|  |  |
| --- | --- |
| Activity assessed | Conductivity – What’s the end point |
| *Date of assessment* | 8th May 2017 |
| *Date of review (****Step 5****)* |  |
| *School* |  |
| *Department* |  |

| Step 1 | Step 2 | Step 3 | Step 4 |
| --- | --- | --- | --- |
| *List Significant hazards here:* | *Who might be harmed and how?* | *What are you already doing?**What further action is needed?* | *Actions* |
| *by whom?* | *Due date* | *Done* |
| Sodium hydroxide is corrosive. | Technician and teacher by inhalation and splashes. | Wear pvc gloves and indirect vent goggles. (BS EN 1663) |  |  |  |
| 0.1 M Sodium hydroxide is irritant. | Technician, teacher and pupils by splashes. | Wear indirect vent goggles.(BS EN 1663)If split on skin wash off with copious quantities of water. |  |  |  |
| Hydrochloric acid is corrosive. | Technician and teacher by inhalation and splashes. | Wear gloves and indirect vent goggles. (BS EN 1663) |  |  |  |
| 0.1 M hydrochloric acid is of no significant hazard |  |  |  |  |  |
| Indicator bromothymol blue is harmful.BTB indicator solution is of no significant hazard | Technician and teacher by inhalation. | Avoid raising dust. |  |  |  |
| Sodium carbonate is irritant.0.1 M sodium carbonate solution is of no significant hazard | Technician and teacher by inhalation and splashes. | Wear indirect vent goggles. (BS EN 1663). Avoid raising dust. |  |  |  |

|  |
| --- |
| **Description of activity:**Using conductivity flasks to determine the end of neutralisation reactions. Combinations of strong acid (hydrochloric)/ strong base (sodium hydroxide) and strong acid (hydrochloric) and weak base (sodium carbonate solution) are reacted together with a bromothymol blue indicator to help show the end point. |

|  |
| --- |
| **Additional comments:**Use only a low tension (LT) supply and not to exceed 16 volts during the electrolysis practical.After experiments ensure hands are thoroughly washed. |